## VRM data export
timestamp | Gateway [0] | Gateway [0] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | VE.Bus System [275] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Battery Monitor [274] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | Solar Charger [273] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [275]
Pacific/Auckland (+12:00) | VRM Log time offset | ESS Scheduled Charging | Phase rotation | Input voltage phase 1 | Input current phase 1 | Input frequency 1 | Input power 1 | Output voltage phase 1 | Output current phase 1 | Output frequency | Output power 1 | Voltage | Current | Active input | Active input current limit | VE.Bus state | VE.Bus Error | Switch Position | Temperature | Low battery | Overload | Charge state | Temperatur sensor alarm | Voltage sensor alarm | High DC Ripple | Temperature L1 | Low battery L1 | Overload L1 | High DC Ripple L1 | Temperature L2 | Low battery L2 | Overload L2 | High DC Ripple L2 | Temperature L3 | Low battery L3 | Overload L3 | High DC Ripple L3 | Voltage | Current | Consumed Amphours | State of charge | Time to go | Low voltage alarm | High voltage alarm | Low starter-voltage alarm | High starter-voltage alarm | Low state-of-charge alarm | Low battery temperature alarm | High battery temperature alarm | Mid-voltage alarm | Relay status | Total Ah drawn | Time since last full charge | Discharged Energy | Charged Energy | Voltage | Current | Battery watts | Load state | Charger on/off | Charge state | PV voltage | PV current | PV power | MPPT State | Relay on the charger | Yield today | Maximum charge power today | Yield yesterday | Maximum charge power yesterday | Error code | User yield | PV - DC-coupled | AC Consumption L1 | Grid L1 | Voltage | Current | VE.Bus charge current | Battery Power | VE.Bus charge power | Battery State of Charge | Battery state | AC-Input | Battery Consumed Amphours | Battery Time to Go | DVCC Multiple batteries alarm | GX Error #48 DVCC with incompatible firmware | #1 Low SOC; discharge disabled | #2 BatteryLife is active | #3 Charge disabled by BMS | #4 Discharge disabled by BMS | #5 Slow charge is active | #6 Charge disabled by user setting | #7 Discharge disabled by user setting | Grid alarm
| s |  |  | VAC | A | Hz | W | VAC | A | Hz | W | V | A |  | A | [22 empty] | V | A | Ah | % | h | [9 empty] | Ah |  | kWh | kWh | V | A | W | [8 empty] | kWh | W | kWh | W |  | kWh | W | W | W | V | A | A | W | W | % |  |  | Ah | h
2021-06-13 10:41:50 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 224 | 51.4 | -5 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.3 | 0.9 | -61.3 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.77 |  |  | 51.33 | 5.2 | 267 | On | On | Bulk | 95.46 | 2.9 | 273 | MPPT active | Open | 0.6 | 543 | 3.8 | 1172 | No error | 1080.27 | 267 | 224 | 0 | 51.3 | 0.9 | -5 | 46.17 | -224 | 91.4 | charging | Inverting | -61.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:42:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 223 | 51.4 | -5 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.26 | 0.7 | -61.3 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.77 |  |  | 51.31 | 4.9 | 251 | On | On | Bulk | 96.39 | 2.7 | 259 | MPPT active | Open | 0.6 | 543 | 3.8 | 1172 | No error | 1080.27 | 257 | 223 | 0 | 51.26 | 0.7 | -4.9 | 35.882 | -224 | 91.4 | charging | Inverting | -61.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:43:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 224 | 51.26 | -5 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.17 | -0.9 | -61.3 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.77 |  |  | 51.21 | 3.3 | 169 | On | On | Bulk | 107.63 | 1.6 | 173 | MPPT active | Open | 0.61 | 543 | 3.8 | 1172 | No error | 1080.28 | 138 | 224 | 0 | 51.16 | -1.4 | -5 | -71.624 | -224 | 91.4 | discharging | Inverting | -61.3 | 240 | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:44:50 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 49.95 | 240 | 51.08 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.97 | 1.1 | -61.4 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | -12324.6 | 0.77 |  |  | 51.02 | 5.6 | 286 | On | On | Bulk | 96.5 | 3 | 294 | MPPT active | Open | 0.61 | 543 | 3.8 | 1172 | No error | 1080.28 | 286 | 240 | 0 | 50.96 | 1.1 | -5.3 | 56.056 | -241 | 91.4 | charging | Inverting | -61.4 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:45:49 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 50.08 | 242 | 51.12 | -5.4 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51 | 2.2 | -61.4 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | -12324.7 | 0.77 |  |  | 51.06 | 6.8 | 347 | On | On | Bulk | 96.15 | 3.7 | 354 | MPPT active | Open | 0.62 | 543 | 3.8 | 1172 | No error | 1080.29 | 347 | 242 | 0 | 50.99 | 2.2 | -5.4 | 112.178 | -241 | 91.4 | charging | Inverting | -61.4 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:45:58 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 230.6 | 1.1 | 50.08 | 241 | 51.14 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Warning | Absorption | Ok | Ok | Ok | Ok | Ok | Warning | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.83 | -7.7 | -61.4 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.77 |  |  | 50.95 | 7 | 357 | On | On | Bulk | 97.68 | 3.7 | 363 | MPPT active | Open | 0.62 | 543 | 3.8 | 1172 | No error | 1080.29 | 357 | 241 | 0 | 50.84 | -5.1 | -5.3 | -259.284 | -240 | 91.4 | discharging | Inverting | -61.4 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:46:18 | 3 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 49.95 | 654 | 51.04 | -25.2 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.99 | 2.6 | -61.4 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.77 | 614.48 | 677.96 | 51.06 | 7.3 | 373 | On | On | Bulk | 98.3 | 3.9 | 382 | MPPT active | Open | 0.62 | 543 | 3.8 | 1172 | No error | 1080.29 | 368 | 654 | 0 | 50.98 | 1.6 | -25.2 | 81.568 | -509 | 91.4 | charging | Inverting | -61.4 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:46:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 50.08 | 241 | 51.18 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.89 | -4.4 | -61.4 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.77 |  |  | 51.13 | 7.8 | 399 | On | On | Bulk | 95.69 | 4.2 | 405 | MPPT active | Open | 0.62 | 543 | 3.8 | 1172 | No error | 1080.29 | 394 | 241 | 0 | 51.08 | 3.2 | -5.3 | 163.456 | -241 | 91.4 | charging | Inverting | -61.4 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:47:50 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 49.95 | 241 | 51.18 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.09 | 3.7 | -61.4 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.77 |  |  | 51.17 | 8.3 | 425 | On | On | Bulk | 98.62 | 4.4 | 435 | MPPT active | Open | 0.63 | 543 | 3.8 | 1172 | No error | 1080.3 | 425 | 1155 | 0 | 51.08 | 3.6 | -5.3 | 183.888 | -1155 | 91.4 | charging | Inverting | -61.4 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:48:03 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 49.95 | 241 | 51.26 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Warning | Absorption | Ok | Ok | Ok | Ok | Ok | Warning | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51 | -4.6 | -61.4 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.77 |  |  | 51.02 | 8.4 | 429 | On | On | Bulk | 97.77 | 4.4 | 435 | MPPT active | Open | 0.63 | 543 | 3.8 | 1172 | No error | 1080.3 | 420 | 241 | 0 | 51.15 | 3.7 | -5.3 | 189.255 | -241 | 91.4 | charging | Inverting | -61.4 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:48:24 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 226.7 | 4.6 | 50.08 | 617 | 51.04 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.81 | -14.2 | -61.4 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  |  |  |  | 50.82 | 8.2 | 417 | On | On | Bulk | 96.27 | 4.5 | 429 | MPPT active | Open | 0.63 | 543 | 3.8 | 1172 | No error | 1080.3 | 417 | 617 | 0 | 50.81 | -14.2 | -5.3 | -721.502 | -241 | 91.4 | discharging | Inverting | -61.4 | 240 | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:48:25 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 226.7 | 4.6 | 50.08 | 617 | 51.04 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.81 | -14.2 | -61.4 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.77 |  |  | 50.82 | 8.2 | 417 | On | On | Bulk | 96.27 | 4.5 | 429 | MPPT active | Open | 0.63 | 543 | 3.8 | 1172 | No error | 1080.3 | 417 | 617 | 0 | 50.81 | -14.2 | -5.3 | -721.502 | -241 | 91.4 | discharging | Inverting | -61.4 | 240 | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:48:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 228.6 | 1.1 | 50.08 | 240 | 51.22 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.13 | 3.4 | -61.4 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | -12324.8 | 0.77 |  |  | 51.2 | 7.9 | 404 | On | On | Bulk | 98.24 | 4.2 | 415 | MPPT active | Open | 0.64 | 543 | 3.8 | 1172 | No error | 1080.31 | 404 | 240 | 0 | 51.12 | 3.4 | -5.3 | 173.808 | -246 | 91.4 | charging | Inverting | -61.4 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:49:50 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 50.08 | 241 | 51.22 | -5.4 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.1 | 2.6 | -61.3 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.77 |  |  | 51.19 | 7.2 | 369 | On | On | Bulk | 99.32 | 3.8 | 376 | MPPT active | Open | 0.64 | 543 | 3.8 | 1172 | No error | 1080.31 | 368 | 240 | 0 | 51.1 | 2.6 | -5.4 | 132.86 | -241 | 91.4 | charging | Inverting | -61.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:50:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 49.95 | 240 | 51.2 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.09 | 2.5 | -61.3 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  | 677.97 | 51.14 | 7.1 | 363 | On | On | Bulk | 99.07 | 3.7 | 372 | MPPT active | Open | 0.65 | 543 | 3.8 | 1172 | No error | 1080.32 | 368 | 240 | 0 | 51.08 | 2.5 | -5.3 | 127.7 | -240 | 91.4 | charging | Inverting | -61.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:51:38 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 49.95 | 239 | 51.2 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Warning | Absorption | Ok | Ok | Ok | Ok | Ok | Warning | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.94 | -6.2 | -61.3 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  |  | 51.01 | 6.8 | 347 | On | On | Bulk | 97.29 | 3.6 | 355 | MPPT active | Open | 0.65 | 543 | 3.8 | 1172 | No error | 1080.32 | 343 | 239 | 0 | 51.09 | 2.2 | -5.3 | 112.398 | -240 | 91.4 | charging | Inverting | -61.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:51:39 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 49.95 | 239 | 51.2 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Warning | Absorption | Ok | Ok | Ok | Ok | Ok | Warning | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.94 | -6.2 | -61.3 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  |  |  |  | 51.01 | 6.8 | 347 | On | On | Bulk | 97.29 | 3.6 | 355 | MPPT active | Open | 0.65 | 543 | 3.8 | 1172 | No error | 1080.32 | 343 | 239 | 0 | 51.09 | 2.2 | -5.3 | 112.398 | -240 | 91.4 | charging | Inverting | -61.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:51:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 50.08 | 241 | 51.18 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Warning | Absorption | Ok | Ok | Ok | Ok | Ok | Warning | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.06 | 2.2 | -61.3 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  |  | 51.12 | 6.8 | 348 | On | On | Bulk | 96.28 | 3.7 | 354 | MPPT active | Open | 0.65 | 543 | 3.8 | 1172 | No error | 1080.32 | 348 | 241 | 0 | 51.06 | 2.2 | -5.3 | 112.332 | -241 | 91.4 | charging | Inverting | -61.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:51:59 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 230.6 | 1.1 | 50.08 | 240 | 51.18 | -5.4 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Warning | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.92 | -6.4 | -61.3 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  |  | 51.03 | 6.7 | 342 | On | On | Bulk | 97.57 | 3.6 | 351 | MPPT active | Open | 0.65 | 543 | 3.8 | 1172 | No error | 1080.32 | 342 | 240 | 0 | 50.92 | -6.4 | -5.4 | -325.888 | -240 | 91.4 | discharging | Inverting | -61.3 | 240 | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:52:00 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 230.6 | 1.1 | 50.08 | 240 | 51.18 | -5.4 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.92 | -6.4 | -61.3 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  |  |  |  | 51.03 | 6.7 | 342 | On | On | Bulk | 97.57 | 3.6 | 351 | MPPT active | Open | 0.65 | 543 | 3.8 | 1172 | No error | 1080.32 | 342 | 240 | 0 | 50.92 | -6.4 | -5.4 | -325.888 | -240 | 91.4 | discharging | Inverting | -61.3 | 240 | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:52:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 50.08 | 240 | 51.14 | -5.3 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.03 | 2 | -61.3 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | -12324.9 | 0.78 |  |  | 51.07 | 6.6 | 337 | On | On | Bulk | 97.24 | 3.6 | 347 | MPPT active | Open | 0.66 | 543 | 3.8 | 1172 | No error | 1080.33 | 332 | 240 | 0 | 51.03 | 2 | -5.3 | 102.06 | -240 | 91.4 | charging | Inverting | -61.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:53:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 227 | 51.04 | -5.1 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.99 | 3.1 | -61.4 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 | 614.49 |  | 51.05 | 7.5 | 383 | On | On | Bulk | 101.6 | 3.8 | 387 | MPPT active | Open | 0.66 | 543 | 3.8 | 1172 | No error | 1080.33 | 352 | 227 | 0 | 50.98 | 2.5 | -5.1 | 127.45 | -228 | 91.4 | charging | Inverting | -61.4 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:54:02 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 230.6 | 1 | 49.95 | 228 | 51.18 | -5.1 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Warning | Absorption | Ok | Ok | Ok | Ok | Ok | Warning | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.91 | -4.7 | -61.3 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  |  | 50.89 | 8 | 407 | On | On | Bulk | 99.51 | 4.2 | 418 | MPPT active | Open | 0.67 | 543 | 3.8 | 1172 | No error | 1080.34 | 404 | 228 | 0 | 51.06 | 3.6 | -5.1 | 183.816 | -227 | 91.4 | charging | Inverting | -61.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:54:22 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 227 | 51.2 | -5.1 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.89 | -6.4 | -61.3 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  |  |  |  | 51.04 | 8.4 | 429 | On | On | Bulk | 99.1 | 4.5 | 447 | MPPT active | Open | 0.67 | 543 | 3.8 | 1172 | No error | 1080.34 | 435 | 227 | 0 | 50.9 | -3.4 | -5.1 | -173.06 | -227 | 91.4 | discharging | Inverting | -61.3 | 240 | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:54:23 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 227 | 51.2 | -5.1 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.89 | -6.4 | -61.3 | 91.4 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  |  | 51.04 | 8.4 | 429 | On | On | Bulk | 99.1 | 4.5 | 447 | MPPT active | Open | 0.67 | 543 | 3.8 | 1172 | No error | 1080.34 | 435 | 227 | 0 | 50.9 | -3.4 | -5.1 | -173.06 | -227 | 91.4 | discharging | Inverting | -61.3 | 240 | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:54:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 227 | 51.22 | -5 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.12 | 4.9 | -61.3 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  |  | 51.19 | 9.1 | 466 | On | On | Bulk | 99.45 | 4.8 | 477 | MPPT active | Open | 0.67 | 543 | 3.8 | 1172 | No error | 1080.34 | 471 | 227 | 0 | 51.12 | 4.8 | -5 | 245.376 | -237 | 91.4 | charging | Inverting | -61.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:55:50 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 230.6 | 1 | 50.08 | 1026 | 50.98 | -24.7 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.21 | 5.3 | -61.3 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  | 677.98 | 51.28 | 9.7 | 497 | On | On | Bulk | 98.88 | 5.2 | 510 | MPPT active | Open | 0.68 | 543 | 3.8 | 1172 | No error | 1080.35 | 497 | 1026 | 0 | 51.19 | 4 | -24.7 | 204.76 | -500 | 91.4 | charging | Inverting | -61.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:56:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 221 | 51.48 | -4.9 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.37 | 5.3 | -61.2 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | -12325 | 0.78 |  |  | 51.44 | 9.5 | 489 | On | On | Bulk | 99.46 | 5 | 497 | MPPT active | Open | 0.69 | 543 | 3.8 | 1172 | No error | 1080.36 | 489 | 221 | 0 | 51.37 | 5.3 | -4.9 | 272.261 | -221 | 91.4 | charging | Inverting | -61.2 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:57:49 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 220 | 51.6 | -4.9 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.48 | 5.3 | -61.1 | 91.4 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  |  | 51.55 | 9.4 | 485 | On | On | Bulk | 98.21 | 5 | 495 | MPPT active | Open | 0.7 | 543 | 3.8 | 1172 | No error | 1080.37 | 485 | 220 | 0 | 51.48 | 5.3 | -4.9 | 272.844 | -220 | 91.4 | charging | Inverting | -61.1 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:58:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 220 | 51.68 | -4.9 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.57 | 5.7 | -61 | 91.5 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  | 677.99 | 51.66 | 9.8 | 506 | On | On | Bulk | 98.8 | 5.3 | 519 | MPPT active | Open | 0.7 | 543 | 3.8 | 1172 | No error | 1080.37 | 506 | 220 | 0 | 51.57 | 5.7 | -4.9 | 293.949 | -220 | 91.5 | charging | Inverting | -61 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 10:59:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 220 | 51.78 | -4.9 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.67 | 6.3 | -60.9 | 91.5 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  |  | 51.76 | 10.3 | 533 | On | On | Bulk | 95.9 | 5.7 | 548 | MPPT active | Open | 0.71 | 543 | 3.8 | 1172 | No error | 1080.38 | 533 | 220 | 0 | 51.67 | 6.2 | -4.9 | 320.354 | -220 | 91.5 | charging | Inverting | -60.9 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:00:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 220 | 52.04 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.91 | 9.4 | -60.8 | 91.5 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  | 678 | 52 | 13.5 | 702 | On | On | Bulk | 101.98 | 7.1 | 721 | MPPT active | Open | 0.72 | 726 | 3.8 | 1172 | No error | 1080.39 | 702 | 220 | 0 | 51.91 | 9.6 | -4.8 | 498.336 | -220 | 91.5 | charging | Inverting | -60.8 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:01:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 228.6 | 1.2 | 50.08 | 254 | 51.98 | -5.5 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.85 | 5.2 | -60.7 | 91.5 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  | 678.01 | 51.93 | 10 | 519 | On | On | Bulk | 99.83 | 5.3 | 529 | MPPT active | Open | 0.73 | 726 | 3.8 | 1172 | No error | 1080.4 | 519 | 254 | 0 | 51.85 | 5.2 | -5.5 | 269.62 | -223 | 91.5 | charging | Inverting | -60.7 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:02:50 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 221 | 51.9 | -4.9 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.78 | 4.3 | -60.6 | 91.5 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  |  | 51.85 | 8.3 | 430 | On | On | Bulk | 98.35 | 4.5 | 446 | MPPT active | Open | 0.74 | 726 | 3.8 | 1172 | No error | 1080.41 | 430 | 221 | 0 | 51.78 | 4.3 | -4.9 | 222.654 | -221 | 91.5 | charging | Inverting | -60.6 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:03:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 228 | 51.78 | -5 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.67 | 3.7 | -60.6 | 91.5 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  |  | 51.73 | 7.9 | 409 | On | On | Bulk | 97.86 | 4.3 | 419 | MPPT active | Open | 0.75 | 726 | 3.8 | 1172 | No error | 1080.42 | 409 | 228 | 0 | 51.67 | 3.7 | -5 | 191.179 | -228 | 91.5 | charging | Inverting | -60.6 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:04:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 220 | 51.8 | -4.9 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.7 | 4.6 | -60.5 | 91.5 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.78 |  | 678.02 | 51.77 | 8.7 | 450 | On | On | Bulk | 99.13 | 4.6 | 459 | MPPT active | Open | 0.75 | 726 | 3.8 | 1172 | No error | 1080.42 | 450 | 220 | 0 | 51.7 | 4.6 | -4.9 | 237.82 | -220 | 91.5 | charging | Inverting | -60.5 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:05:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 6.4 | 50.08 | 1345 | 50.74 | -30 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 50.65 | -20.4 | -60.6 | 91.5 | 25.57 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | -12325.1 | 0.79 | 614.5 |  | 50.69 | 9.1 | 461 | On | On | Bulk | 98.78 | 4.8 | 473 | MPPT active | Open | 0.76 | 726 | 3.8 | 1172 | No error | 1080.43 | 462 | 1374 | 0 | 50.66 | -20.5 | -30 | -1038.53 | -1374 | 91.5 | discharging | Inverting | -60.6 | 26.3 | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:06:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 221 | 51.42 | -4.9 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.33 | 6.4 | -60.7 | 91.5 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | -12325.2 | 0.79 |  |  | 51.4 | 10.5 | 540 | On | On | Bulk | 97.99 | 5.6 | 553 | MPPT active | Open | 0.77 | 726 | 3.8 | 1172 | No error | 1080.44 | 540 | 221 | 0 | 51.32 | 6.3 | -4.9 | 323.316 | -221 | 91.5 | charging | Inverting | -60.7 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:07:50 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 222 | 51.74 | -4.9 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.63 | 7.7 | -60.6 | 91.5 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.79 |  | 678.03 | 51.73 | 11.8 | 610 | On | On | Bulk | 97.17 | 6.4 | 621 | MPPT active | Open | 0.78 | 726 | 3.8 | 1172 | No error | 1080.45 | 605 | 222 | 0 | 51.62 | 7.6 | -4.9 | 392.312 | -222 | 91.5 | charging | Inverting | -60.6 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:08:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 220 | 52.04 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.93 | 9.7 | -60.4 | 91.5 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.79 |  | 678.04 | 52.04 | 13.8 | 718 | On | On | Bulk | 98.69 | 7.4 | 731 | MPPT active | Open | 0.79 | 736 | 3.8 | 1172 | No error | 1080.46 | 718 | 220 | 0 | 51.93 | 9.7 | -4.8 | 503.721 | -221 | 91.5 | charging | Inverting | -60.4 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:09:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 221 | 52.3 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.19 | 12.3 | -60.2 | 91.6 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.79 |  | 678.05 | 52.31 | 16.4 | 858 | On | On | Bulk | 100.73 | 8.7 | 873 | MPPT active | Open | 0.8 | 851 | 3.8 | 1172 | No error | 1080.47 | 858 | 221 | 0 | 52.19 | 12.2 | -4.8 | 636.718 | -221 | 91.6 | charging | Inverting | -60.2 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:10:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 220 | 52.48 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.35 | 12.5 | -60 | 91.6 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.79 |  | 678.06 | 52.48 | 16.5 | 866 | On | On | Bulk | 100.13 | 8.8 | 885 | MPPT active | Open | 0.82 | 886 | 3.8 | 1172 | No error | 1080.49 | 866 | 220 | 0 | 52.35 | 12.5 | -4.8 | 654.375 | -221 | 91.6 | charging | Inverting | -60.1 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:11:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 221 | 52.48 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.36 | 10.3 | -59.9 | 91.6 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.79 |  | 678.07 | 52.46 | 14.5 | 761 | On | On | Bulk | 99.32 | 7.8 | 776 | MPPT active | Open | 0.83 | 886 | 3.8 | 1172 | No error | 1080.5 | 761 | 220 | 0 | 52.36 | 10.4 | -4.8 | 544.544 | -220 | 91.6 | charging | Inverting | -59.9 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:12:50 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 221 | 52.34 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.23 | 7.9 | -59.7 | 91.6 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.79 |  |  | 52.32 | 11.9 | 623 | On | On | Bulk | 97.23 | 6.6 | 639 | MPPT active | Open | 0.84 | 886 | 3.8 | 1172 | No error | 1080.51 | 623 | 221 | 0 | 52.23 | 7.9 | -4.8 | 412.617 | -221 | 91.6 | charging | Inverting | -59.7 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:13:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 221 | 52.24 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.13 | 6.6 | -59.6 | 91.6 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.79 |  | 678.08 | 52.22 | 8.9 | 465 | On | On | Bulk | 111.03 | 4.2 | 466 | MPPT active | Open | 0.85 | 886 | 3.8 | 1172 | No error | 1080.52 | 464 | 221 | 0 | 52.1 | 4.7 | -4.8 | 244.87 | -220 | 91.6 | charging | Inverting | -59.6 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:14:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 220 | 52.44 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.3 | 9.7 | -59.5 | 91.7 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.79 |  | 678.09 | 52.4 | 13.7 | 718 | On | On | Bulk | 100.71 | 7.3 | 737 | MPPT active | Open | 0.86 | 886 | 3.8 | 1172 | No error | 1080.53 | 718 | 220 | 0 | 52.3 | 9.7 | -4.8 | 507.31 | -221 | 91.7 | charging | Inverting | -59.5 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:15:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 220 | 52.5 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.4 | 10.9 | -59.3 | 91.7 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.79 |  | 678.1 | 52.5 | 14.9 | 782 | On | On | Bulk | 99.8 | 8 | 801 | MPPT active | Open | 0.88 | 886 | 3.8 | 1172 | No error | 1080.55 | 782 | 220 | 0 | 52.4 | 10.9 | -4.8 | 571.16 | -221 | 91.7 | charging | Inverting | -59.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:16:50 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 220 | 52.56 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.41 | 9.8 | -59.1 | 91.7 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.79 |  | 678.11 | 52.52 | 13.9 | 730 | On | On | Bulk | 97.8 | 7.6 | 747 | MPPT active | Open | 0.89 | 886 | 3.8 | 1172 | No error | 1080.56 | 730 | 220 | 0 | 52.41 | 9.9 | -4.8 | 518.859 | -220 | 91.7 | charging | Inverting | -59.1 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:17:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 220 | 52.5 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.4 | 9.7 | -59 | 91.7 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.79 |  | 678.12 | 52.5 | 13.7 | 719 | On | On | Bulk | 101.47 | 7.2 | 735 | MPPT active | Open | 0.9 | 886 | 3.8 | 1172 | No error | 1080.57 | 720 | 220 | 0 | 52.4 | 9.7 | -4.8 | 508.28 | -220 | 91.7 | charging | Inverting | -59 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:18:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 219 | 52.5 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.37 | 8.6 | -58.8 | 91.8 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.79 |  |  | 52.46 | 12.6 | 661 | On | On | Bulk | 98.81 | 6.9 | 678 | MPPT active | Open | 0.91 | 886 | 3.8 | 1172 | No error | 1080.58 | 666 | 220 | 0 | 52.37 | 8.6 | -4.8 | 450.382 | -220 | 91.8 | charging | Inverting | -58.8 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:19:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 219 | 52.44 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.33 | 8.1 | -58.7 | 91.8 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  | 678.13 | 52.43 | 12.1 | 634 | On | On | Bulk | 98.56 | 6.6 | 648 | MPPT active | Open | 0.92 | 886 | 3.8 | 1172 | No error | 1080.59 | 635 | 219 | 0 | 52.33 | 8.1 | -4.8 | 423.873 | -220 | 91.8 | charging | Inverting | -58.7 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:20:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 220 | 52.5 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.37 | 9 | -58.6 | 91.8 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  | 678.14 | 52.46 | 13 | 682 | On | On | Bulk | 100.08 | 7 | 697 | MPPT active | Open | 0.94 | 886 | 3.8 | 1172 | No error | 1080.61 | 682 | 220 | 0 | 52.37 | 9 | -4.8 | 471.33 | -221 | 91.8 | charging | Inverting | -58.6 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:21:49 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 220 | 52.56 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.42 | 9.5 | -58.4 | 91.8 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  | 678.15 | 52.52 | 13.6 | 714 | On | On | Bulk | 99.51 | 7.3 | 727 | MPPT active | Open | 0.95 | 886 | 3.8 | 1172 | No error | 1080.62 | 714 | 220 | 0 | 52.42 | 9.5 | -4.8 | 497.99 | -220 | 91.8 | charging | Inverting | -58.4 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:22:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 219 | 52.56 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.45 | 9.5 | -58.3 | 91.8 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  |  | 52.54 | 13.4 | 704 | On | On | Bulk | 100.97 | 7.2 | 723 | MPPT active | Open | 0.96 | 886 | 3.8 | 1172 | No error | 1080.63 | 704 | 219 | 0 | 52.45 | 9.5 | -4.8 | 498.275 | -218 | 91.8 | charging | Inverting | -58.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:23:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 219 | 52.44 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.33 | 7.1 | -58.2 | 91.9 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  | 678.16 | 52.42 | 10.9 | 571 | On | On | Bulk | 108.5 | 5.4 | 590 | MPPT active | Open | 0.97 | 886 | 3.8 | 1172 | No error | 1080.64 | 571 | 219 | 0 | 52.33 | 7.1 | -4.8 | 371.543 | -219 | 91.9 | charging | Inverting | -58.2 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:24:50 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 230.6 | 1 | 50.08 | 219 | 52.56 | -4.7 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.43 | 9.2 | -58 | 91.9 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  | 678.17 | 52.52 | 13.2 | 693 | On | On | Bulk | 98.37 | 7.2 | 707 | MPPT active | Open | 0.98 | 886 | 3.8 | 1172 | No error | 1080.65 | 693 | 219 | 0 | 52.43 | 9.2 | -4.7 | 482.356 | -219 | 91.9 | charging | Inverting | -58 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:25:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 220 | 52.56 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.43 | 8.6 | -57.9 | 91.9 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  | 678.18 | 52.53 | 12.6 | 662 | On | On | Bulk | 97.1 | 7 | 678 | MPPT active | Open | 0.99 | 886 | 3.8 | 1172 | No error | 1080.66 | 662 | 220 | 0 | 52.43 | 8.6 | -4.8 | 450.898 | -221 | 91.9 | charging | Inverting | -57.9 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:26:49 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 219 | 52.5 | -4.7 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.41 | 8 | -57.7 | 91.9 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  |  | 52.5 | 12 | 630 | On | On | Bulk | 98.09 | 6.6 | 645 | MPPT active | Open | 1 | 886 | 3.8 | 1172 | No error | 1080.67 | 630 | 219 | 0 | 52.41 | 8 | -4.7 | 419.28 | -219 | 91.9 | charging | Inverting | -57.7 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:27:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 222 | 52.5 | -4.8 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.37 | 7.3 | -57.6 | 91.9 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  | 678.19 | 52.44 | 11.4 | 598 | On | On | Bulk | 97.99 | 6.2 | 610 | MPPT active | Open | 1.01 | 886 | 3.8 | 1172 | No error | 1080.68 | 593 | 223 | 0 | 52.36 | 7.3 | -4.9 | 382.228 | -251 | 91.9 | charging | Inverting | -57.6 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:28:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 0.9 | 49.95 | 209 | 52.48 | -4.6 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.36 | 7.3 | -57.5 | 92 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  | 678.2 | 52.43 | 11.1 | 582 | On | On | Bulk | 97.74 | 6.1 | 595 | MPPT active | Open | 1.02 | 886 | 3.8 | 1172 | No error | 1080.69 | 582 | 209 | 0 | 52.36 | 7.3 | -4.6 | 382.228 | -209 | 92 | charging | Inverting | -57.5 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:29:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1.1 | 49.95 | 237 | 52.5 | -4.6 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.38 | 7.8 | -57.4 | 92 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  |  | 52.46 | 11.6 | 609 | On | On | Bulk | 97.68 | 6.4 | 624 | MPPT active | Open | 1.03 | 886 | 3.8 | 1172 | No error | 1080.7 | 609 | 237 | 0 | 52.38 | 7.6 | -5.1 | 398.088 | -210 | 92 | charging | Inverting | -57.4 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:30:49 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 209 | 52.52 | -4.6 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.41 | 8 | -57.3 | 92 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  | 678.21 | 52.49 | 11.9 | 625 | On | On | Bulk | 98.81 | 6.4 | 630 | MPPT active | Open | 1.04 | 886 | 3.8 | 1172 | No error | 1080.71 | 625 | 210 | 0 | 52.41 | 8 | -4.6 | 419.28 | -210 | 92 | charging | Inverting | -57.3 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:31:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 210 | 52.5 | -4.6 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.39 | 7.3 | -57.1 | 92 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  | 678.22 | 52.46 | 11 | 577 | On | On | Bulk | 94.51 | 6.3 | 594 | MPPT active | Open | 1.05 | 886 | 3.8 | 1172 | No error | 1080.72 | 577 | 210 | 0 | 52.39 | 7.3 | -4.6 | 382.447 | -210 | 92 | charging | Inverting | -57.1 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:32:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 210 | 52.44 | -4.6 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.31 | 5.7 | -57 | 92 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  |  | 52.37 | 9.3 | 487 | On | On | Bulk | 99.7 | 5.1 | 506 | MPPT active | Open | 1.06 | 886 | 3.8 | 1172 | No error | 1080.73 | 487 | 209 | 0 | 52.31 | 5.7 | -4.6 | 298.167 | -209 | 92 | charging | Inverting | -57 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:33:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 210 | 52.34 | -4.6 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.23 | 6 | -57 | 92 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.8 |  | 678.23 | 52.32 | 9.9 | 518 | On | On | Bulk | 98.82 | 5.3 | 527 | MPPT active | Open | 1.07 | 886 | 3.8 | 1172 | No error | 1080.74 | 518 | 210 | 0 | 52.23 | 6 | -4.6 | 313.38 | -210 | 92 | charging | Inverting | -57 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:34:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 231.6 | 5.9 | 50.08 | 329 | 52 | -5.6 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.87 | 0.8 | -57 | 92 | 80.13 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | -12325.3 | 0.81 |  |  | 51.92 | 8.8 | 457 | On | On | Bulk | 98.69 | 4.8 | 470 | MPPT active | Open | 1.08 | 886 | 3.8 | 1172 | No error | 1080.75 | 457 | 1153 | 0 | 51.7 | -10.1 | -24.4 | -522.17 | -1157 | 92 | discharging | Inverting | -56.9 | 82.72 | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:35:49 | 0 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 270 | 51.86 | -5 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.78 | 3.3 | -57 | 92 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.81 | 614.51 |  | 51.83 | 7.5 | 389 | On | On | Bulk | 97.5 | 4.1 | 396 | MPPT active | Open | 1.08 | 886 | 3.8 | 1172 | No error | 1080.75 | 384 | 270 | 0 | 51.76 | 2.8 | -5 | 144.928 | -229 | 92 | charging | Inverting | -57 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:36:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 214 | 51.94 | -4.7 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.81 | 3 | -57 | 92 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.81 |  |  | 51.86 | 6.9 | 358 | On | On | Bulk | 96.78 | 3.8 | 369 | MPPT active | Open | 1.09 | 886 | 3.8 | 1172 | No error | 1080.76 | 358 | 214 | 0 | 51.8 | 3 | -4.8 | 155.4 | -215 | 92 | charging | Inverting | -57 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:37:50 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 215 | 51.94 | -4.7 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.81 | 3.6 | -56.9 | 92 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | -12325.4 | 0.81 |  | 678.24 | 51.9 | 7.5 | 389 | On | On | Bulk | 97.75 | 4.1 | 402 | MPPT active | Open | 1.1 | 886 | 3.8 | 1172 | No error | 1080.77 | 394 | 215 | 0 | 51.81 | 3.6 | -4.7 | 186.516 | -215 | 92 | charging | Inverting | -56.9 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:38:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 215 | 51.94 | -4.7 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.83 | 4.2 | -56.9 | 92 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.81 |  |  | 51.88 | 8.1 | 420 | On | On | Bulk | 96.47 | 4.5 | 431 | MPPT active | Open | 1.1 | 886 | 3.8 | 1172 | No error | 1080.77 | 420 | 215 | 0 | 51.83 | 4.2 | -4.7 | 217.686 | -214 | 92 | charging | Inverting | -56.9 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:39:49 | 1 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 49.95 | 214 | 51.98 | -4.7 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.87 | 4.9 | -56.9 | 92 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.81 |  |  | 51.93 | 8.8 | 457 | On | On | Bulk | 97.36 | 4.8 | 466 | MPPT active | Open | 1.11 | 886 | 3.8 | 1172 | No error | 1080.78 | 457 | 214 | 0 | 51.87 | 4.9 | -4.7 | 254.163 | -213 | 92 | charging | Inverting | -56.9 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok
2021-06-13 11:40:49 | 2 | Not active | Ok | 0 | 0 | 0 | 0 | 229.6 | 1 | 50.08 | 214 | 51.98 | -4.7 | Disconnected | 32 | Inverting | No error | On | Ok | Ok | Ok | Absorption | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 51.88 | 4.7 | -56.8 | 92 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open |  | 0.81 |  | 678.25 | 51.93 | 8.6 | 447 | On | On | Bulk | 95.34 | 4.8 | 456 | MPPT active | Open | 1.12 | 886 | 3.8 | 1172 | No error | 1080.79 | 447 | 214 | 0 | 51.87 | 4.7 | -4.7 | 243.789 | -215 | 92 | charging | Inverting | -56.8 |  | No alarm | No alarm | Off | Off | Off | Off | Off | Off | Off | Grid ok