## VRM data export
timestamp | Gateway [0] | Gateway [0] | Gateway [0] | Gateway [0] | Gateway [0] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | VE.Bus System [261] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Battery Monitor [0] | Tank [20] | Tank [21] | Tank [22] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | System overview [0] | PV Inverter [20] | PV Inverter [20] | PV Inverter [20] | PV Inverter [20] | PV Inverter [20] | PV Inverter [20] | PV Inverter [20] | PV Inverter [20] | PV Inverter [20] | PV Inverter [20] | PV Inverter [20] | PV Inverter [20] | PV Inverter [20] | PV Inverter [20] | Generator start/stop [0] | Temperature sensor [23] | Temperature sensor [24]
Europe/Berlin (+01:00) | VRM Log time offset | ESS Scheduled Charging | Relay 1 state | Generator run reason | CCGX Relay 2 state | Phase rotation | Input voltage phase 1 | Input voltage phase 2 | Input voltage phase 3 | Input current phase 1 | Input current phase 2 | Input current phase 3 | Input frequency 1 | Input frequency 2 | Input frequency 3 | Input power 1 | Input power 2 | Input power 3 | Output voltage phase 1 | Output voltage phase 2 | Output voltage phase 3 | Output current phase 1 | Output current phase 2 | Output current phase 3 | Output frequency | Output power 1 | Output power 2 | Output power 3 | Voltage | Current | Active input | Active input current limit | VE.Bus state | VE.Bus Error | Switch Position | Temperature | Low battery | Overload | Charge state | Temperatur sensor alarm | Voltage sensor alarm | High DC Ripple | Temperature L1 | Low battery L1 | Overload L1 | High DC Ripple L1 | Temperature L2 | Low battery L2 | Overload L2 | High DC Ripple L2 | Temperature L3 | Low battery L3 | Overload L3 | High DC Ripple L3 | Voltage | Current | Consumed Amphours | State of charge | Time to go | Low voltage alarm | High voltage alarm | Low state-of-charge alarm | Low battery temperature alarm | High battery temperature alarm | Fuse blown alarm | High internal-temperature alarm | Relay status | Deepest discharge | Last discharge | Average discharge | Charge cycles | Full discharges | Total Ah drawn | Minimum voltage | Maximum voltage | Time since last full charge | Automatic syncs | Low voltage alarms | High voltage alarms | Tank status | Tank status | Tank status | PV - AC-coupled on output L1 | #1 Low SOC; discharge disabled | #2 BatteryLife is active | #3 Charge disabled by BMS | #4 Discharge disabled by BMS | #5 Slow charge is active | #6 Charge disabled by user setting | #7 Discharge disabled by user setting | PV - AC-coupled on output L2 | PV - AC-coupled on output L3 | AC Consumption L1 | AC Consumption L2 | AC Consumption L3 | Grid L1 | Grid L2 | Grid L3 | Genset L1 | Genset L2 | Genset L3 | Voltage | Current | VE.Bus charge current | Battery Power | VE.Bus charge power | Battery State of Charge | Battery state | AC-Input | Battery Consumed Amphours | Battery Time to Go | DVCC Multiple batteries alarm | DVCC Firmware insufficient alarm | L1 Voltage | L2 Voltage | L3 Voltage | L1 Current | L2 Current | L3 Current | L1 Power | L2 Power | L3 Power | L1 Energy | L2 Energy | L3 Energy | Status | Power Limit | Generator not detected at AC-input | Temperature status | Temperature status
| s | [5 empty] | VAC | VAC | VAC | A | A | A | Hz | Hz | Hz | W | W | W | VAC | VAC | VAC | A | A | A | Hz | W | W | W | V | A |  | A | [22 empty] | V | A | Ah | % | h | [8 empty] | Ah | Ah | Ah |  |  | Ah | V | V | [7 empty] | W | [7 empty] | W | W | W | W | W | W | W | W | W | W | W | V | A | A | W | W | % |  |  | Ah | h |  |  | V | V | V | A | A | A | W | W | W | kWh | kWh | kWh
2020-11-13 15:45:03 | 2 | Not active | Open | Stopped | Open | Ok | 231.3 | 231.1 | 231.1 | 9.6 | 10.9 | 9.6 | 50.1 | 50.1 | 50.1 | 1963 | 2347 | 2086 | 231.3 | 231.1 | 231.1 | 3.4 | 2.5 | 0.8 | 49.82 | 770 | 510 | 178 | 55.84 | 78.3 | AC Input 1 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 55.89 | 84.9 | -58.9 | 80 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 770 | 510 | 178 |  |  |  | 1963 | 2347 | 2086 | 55.89 | 84.9 | 78.3 | 4745 | 4849 | 80 | charging | Generator | -58.9 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Startup 3 | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:45:14 | 1 | Not active | Open | Stopped | Open | Ok | 231.3 | 230.2 | 226 | 9.6 | 10.6 | 8.3 | 50.1 | 50.1 | 50.62 | 2137 | 2335 | 2122 | 231.3 | 230.2 | 226 | 3.3 | 2.5 | 0.9 | 49.82 | 777 | 515 | 165 | 55.98 | 83.3 | AC Input 1 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 55.87 | 82.6 | -58.7 | 80 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 777 | 515 | 175 |  |  |  | 2137 | 2335 | 2122 | 55.87 | 82.6 | 83.3 | 4614 | 5103 | 80 | charging | Generator | -58.7 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:45:36 | 2 | Not active | Open | Stopped | Open | Ok | 231.3 | 231.1 | 231.1 | 9.6 | 10.3 | 9.2 | 50.1 | 50.1 | 50.1 | 1913 | 2318 | 2068 | 231.3 | 231.1 | 231.1 | 3.3 | 2.3 | 0.8 | 49.95 | 767 | 512 | 170 | 55.86 | 80.4 | AC Input 1 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 55.58 | 67.6 | -58.3 | 80 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 767 | 512 | 170 |  |  |  | 1913 | 2318 | 2068 | 55.64 | 78.2 | 80.4 | 4351 | 5091 | 80 | charging | Generator | -58.3 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:45:47 | 1 | Not active | Open | Stopped | Open | Ok | 231.3 | 230.2 | 230.2 | 9.2 | 9.9 | 9 | 50.1 | 50.1 | 50.1 | 1866 | 2311 | 2002 | 231.3 | 230.2 | 230.2 | 3.3 | 2.3 | 0.8 | 50.08 | 758 | 508 | 173 | 55.87 | 80.3 | AC Input 1 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 55.8 | 77.7 | -58.1 | 80 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 758 | 508 | 173 |  |  |  | 1866 | 2311 | 2002 | 55.48 | 63.6 | 80.3 | 3528 | 4740 | 80 | charging | Generator | -58.1 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Startup 3 | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:45:59 | 1 | Not active | Open | Stopped | Open | Ok | 230.5 | 228.5 | 231.1 | 8.6 | 9.9 | 7.7 | 50.1 | 49.85 | 49.85 | 1730 | 2229 | 1287 | 230.5 | 228.5 | 231.1 | 3.3 | 2 | 0.8 | 49.82 | 768 | 502 | 145 | 55.51 | 59 | AC Input 1 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 55.72 | 76.9 | -57.9 | 80 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 768 | 502 | 145 |  |  |  | 1730 | 2229 | 1287 | 55.72 | 76.9 | 59 | 4284 | 4854 | 80 | charging | Generator | -57.9 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:46:17 | 563 | Not active | Open | Stopped | Open | Ok | 231.3 | 222.5 | 204.1 | 7.9 | 6.9 | 15.8 | 50.1 | 49.85 | 42.11 | 1474 | 2132 | 961 | 231.3 | 222.5 | 204.1 | 3.8 | 1 | 3.9 | 50.34 | 840 | 503 | 138 | 54.26 | 0 | AC Input 1 | 16 | Off | No error | On | Ok | Ok | Alarm | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Alarm | Ok | 54.25 | -0.2 | -57.6 | 81 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [12 empty] | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 840 | 503 | 138 |  |  |  | 1474 | 2132 | 961 | 54.43 | 0.3 | 57.7 | 16 | 4290 | 81 | idle | Generator | -57.6 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:46:28 | 552 | Not active | Open | Stopped | Open | Ok | 231.3 | 222.5 | 204.1 | 7.9 | 6.9 | 15.8 | 50.1 | 49.85 | 42.11 | 1474 | 2132 | 961 | 231.3 | 222.5 | 204.1 | 3.8 | 1 | 3.9 | 50.34 | 840 | 503 | 138 | 55.29 | 57.7 | AC Input 1 | 16 | Bulk | No error | On | Ok | Ok | Alarm | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 54.43 | 0.3 | -57.6 | 81 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 840 | 503 | 138 |  |  |  | 1474 | 2132 | 961 | 54.43 | 0.3 | 57.7 | 16 | 4290 | 81 | idle | Generator | -57.6 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:46:29 | 551 | Not active | Open | Stopped | Open | Ok | 236.4 | 222.5 | 204.1 | 7.9 | 6.9 | 15.8 | 50.1 | 49.85 | 42.11 | 1474 | 2132 | 961 | 231.3 | 222.5 | 204.1 | 3.8 | 1 | 3.9 | 50.34 | 840 | 503 | 138 | 54.26 | 0 | Disconnected | 16 | Off | No error | On | Ok | Ok | Alarm | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Alarm | Ok | 54.17 | -0.2 | -57.6 | 81 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 840 | 503 | 138 |  |  |  | 1474 | 2132 | 961 | 54.25 | -0.2 | 0 | -10 | 3086 | 81 | idle | Generator | -57.6 | 240 | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:46:30 | 550 | Not active | Open | Stopped | Open | Ok | 236.4 | 240.4 | 235.3 | 0 | 0 | 0 | 50.1 | 50.1 | 50.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.21 | 0 | 0 | 0 | 54.26 | 0 | Disconnected | 16 | Off | No error | On | Ok | Ok | Alarm | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Alarm | Ok | 54.17 | -0.2 | -57.6 | 81 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [12 empty] | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 840 | 503 | 138 |  | 0 | 0 | 1474 |  | 961 | 54.25 | -0.2 | 0 | -10 | 3086 | 81 | idle | Inverting | -57.6 | 240 | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:46:47 | 533 | Not active | Open | Stopped | Open | Ok | 236.4 | 240.4 | 231.1 | 0 | 0 | 0 | 50.1 | 50.1 | 50.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.95 | 0 | 0 | 0 | 53.67 | 0 | Disconnected | 16 | Off | No error | On | Ok | Ok | Alarm | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Alarm | Ok | 53.65 | -0.2 | -57.6 | 81 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 53.66 | -0.2 | 0 | -10 | 0 | 81 | idle | Inverting | -57.6 | 240 | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:47:36 | 484 | Not active | Open | Stopped | Open | Ok | 238.9 | 242.1 | 226 | 0 | 0 | 0 | 50.1 | 50.1 | 50.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.95 | 0 | 0 | 0 | 53.29 | 0 | Disconnected | 16 | Off | No error | On | Ok | Ok | Alarm | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Alarm | Ok | 53.29 | -0.2 | -57.6 | 81 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 53.29 | -0.2 | 0 | -10 | 0 | 81 | idle | Inverting | -57.6 | 240 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:48:37 | 424 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.95 | 0 | 0 | 0 | 53.22 | 0 | Disconnected | 16 | Off | No error | On | Ok | Ok | Alarm | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Alarm | Ok | 53.18 | -0.2 | -57.6 | 81 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 53.18 | -0.2 | 0 | -10 | 0 | 81 | idle | Inverting | -57.6 | 240 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:49:36 | 365 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.08 | 0 | 0 | 0 | 53.09 | 0 | Disconnected | 16 | Off | No error | On | Ok | Ok | Alarm | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Alarm | Ok | 53.08 | -0.2 | -57.6 | 81 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 53.08 | -0.2 | 0 | -10 | 0 | 81 | idle | Inverting | -57.6 | 240 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:50:36 | 305 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.95 | 0 | 0 | 0 | 53.03 | 0 | Disconnected | 16 | Off | No error | On | Ok | Ok | Alarm | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Alarm | Ok | 53.02 | -0.2 | -57.6 | 81 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 53.02 | -0.2 | 0 | -10 | 0 | 81 | idle | Inverting | -57.6 | 240 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:51:36 | 245 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.95 | 0 | 0 | 0 | 53.03 | 0 | Disconnected | 16 | Off | No error | On | Ok | Ok | Alarm | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Alarm | Ok | 52.96 | -0.2 | -57.6 | 81 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 52.96 | -0.2 | 0 | -10 | 0 | 81 | idle | Inverting | -57.6 | 240 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:52:35 | 186 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.95 | 0 | 0 | 0 | 52.96 | 0 | Disconnected | 16 | Off | No error | On | Ok | Ok | Alarm | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Alarm | Ok | 52.94 | -0.1 | -57.6 | 81 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 52.94 | -0.1 | 0 | -5 | 0 | 81 | idle | Inverting | -57.6 | 240 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:52:36 | 185 | Not active | Open | Stopped | Open | Ok | [25 empty] | 16 |  | No error | On | Ok | Ok | Alarm |  | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Alarm | Ok | 52.94 | -0.1 | -57.6 | 81 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 0 | 0 | 0 | [6 empty] | 52.94 | -0.1 | 0 | -5 | 0 | 81 | idle |  | -57.6 | 240 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:52:41 | 180 | Not active | Open | Stopped | Open | Ok | [25 empty] | 16 |  | VE.Bus Error 3: Not all, or more than, the expected devices were found in the system | On | Ok | Ok | Ok |  | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.92 | -0.2 | -57.6 | 81 | 240 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [12 empty] | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off | [11 empty] | 52.92 | -0.1 |  | -5 |  | 81 | idle |  | -57.6 | 240 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:52:47 | 174 | Not active | Open | Stopped | Open | Ok | [25 empty] | 16 | Inverting | No error | On | Ok | Ok | Warning | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Warning | Ok | 52.69 | -15 | -57.6 | 81 | 233.38 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off | [11 empty] | 52.69 | -15 |  | -790 |  | 81 | discharging |  | -57.6 | 233.38 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:52:48 | 173 | Not active | Open | Stopped | Open | Ok | V: 52.69; A: -18.1 |  | 16 | Inverting | No error | On | Ok | Ok | Warning | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Warning | Ok | 52.69 | -15 | -57.6 | 81 | 233.38 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [12 empty] | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off | [11 empty] | 52.69 | -15 |  | -790 |  | 81 | discharging |  | -57.6 | 233.38 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:52:49 | 172 | Not active | Open | Stopped | Open | Ok | V: 52.69; A: -18.1 | Disconnected | 16 | Inverting | No error | On | Ok | Ok | Warning | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Warning | Ok | 52.69 | -15.3 | -57.6 | 81 | 159.68 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off | [11 empty] | 52.69 | -15 | -18.1 | -790 | -953 | 81 | discharging |  | -57.6 | 233.38 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:52:50 | 171 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 229.9 | 229.6 | 230.1 | 0.9 | 3.3 | 1 | 50.08 | 145 | 488 | 183 | 52.69 | -18.1 | Disconnected | 16 | Inverting | No error | On | Ok | Ok | Warning | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Warning | Ok | 52.63 | -17.8 | -57.6 | 81 | 92.53 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [12 empty] | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off | [6 empty] | 0 | 0 |  |  |  | 52.69 | -15.3 | -18.1 | -936 | -953 | 81 | discharging | Inverting | -57.6 | 159.68 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:52:52 | 169 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 229.9 | 229.6 | 230.1 | 0.9 | 3.3 | 1 | 50.08 | 145 | 488 | 183 | 52.69 | -18.1 | Disconnected | 16 | Inverting | No error | On | Ok | Ok | Warning | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Warning | Ok | 52.57 | -19.5 | -57.6 | 81 | 74.58 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [12 empty] | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 145 | 488 | 183 | 0 | 0 | 0 |  |  |  | 52.63 | -17.8 | -18.1 | -936 | -953 | 81 | discharging | Inverting | -57.6 | 92.53 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:52:53 | 168 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 229.9 | 229.6 | 230.1 | 0.9 | 3.3 | 1 | 50.08 | 145 | 488 | 183 | 52.69 | -18.1 | Disconnected | 16 | Inverting | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Warning | Ok | 52.55 | -20.4 | -57.6 | 81 | 53.15 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [12 empty] | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 145 | 488 | 183 | 0 | 0 | 0 |  |  |  | 52.55 | -20.4 | -18.1 | -1072 | -953 | 81 | discharging | Inverting | -57.6 | 53.15 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:52:54 | 167 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 229.9 | 229.6 | 230.1 | 0.9 | 3.3 | 1 | 50.08 | 145 | 488 | 183 | 52.69 | -18.1 | Disconnected | 16 | Inverting | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.55 | -20.4 | -57.6 | 81 | 53.15 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [12 empty] | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 145 | 488 | 183 | 0 | 0 | 0 |  |  |  | 52.55 | -20.4 | -18.1 | -1072 | -953 | 81 | discharging | Inverting | -57.6 | 53.15 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:53:36 | 125 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230.3 | 229.6 | 230.1 | 0.9 | 3.3 | 0.9 | 49.95 | 102 | 540 | 143 | 52.43 | -17 | Disconnected | 16 | Inverting | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.39 | -16.3 | -57.9 | 81 | 9.8 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [5 empty] | -1657.9 |  |  | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 102 | 540 | 143 | 0 | 0 | 0 |  |  |  | 52.39 | -16.3 | -17 | -853 | -790 | 81 | discharging | Inverting | -57.9 | 9.87 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:54:06 | 95 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 229.9 | 230 | 229.7 | 0.9 | 3.8 | 0.9 | 50.08 | 91 | 543 | 133 | 52.41 | -16.6 | Disconnected | 16 | Inverting | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.24 | -25.1 | -58 | 80 | 8.25 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [5 empty] | -1658.1 |  |  | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 91 | 543 | 133 | 0 | 0 | 0 |  |  |  | 52.24 | -24.8 | -16.6 | -1295 | -758 | 80 | discharging | Inverting | -58 | 8.37 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:54:07 | 94 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 229.9 | 230 | 229.7 | 0.9 | 3.8 | 0.9 | 50.08 | 91 | 543 | 133 | 52.41 | -16.6 | Disconnected | 16 | Inverting | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.24 | -25.1 | -58 | 80 | 8.25 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [12 empty] | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 91 | 543 | 133 | 0 | 0 | 0 |  |  |  | 52.24 | -24.8 | -16.6 | -1295 | -758 | 80 | discharging | Inverting | -58 | 8.37 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:54:36 | 65 | Not active | Open | Stopped | Open | Ok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230.3 | 230 | 230.1 | 0.8 | 3.5 | 0.9 | 50.08 | 77 | 605 | 126 | 52.36 | -17.7 | Disconnected | 16 | Inverting | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.28 | -19.2 | -58.2 | 80 | 7.43 | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [5 empty] | -1658.2 |  |  | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 77 | 605 | 126 | 0 | 0 | 0 |  |  |  | 52.2 | -25.5 | -17.7 | -1331 | -797 | 80 | discharging | Inverting | -58.2 | 7.47 | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:54:54 | 47 | Not active | Open | Stopped | Open | Ok | 237.2 | 242.1 | 237.8 | 0 | 0 | 0 | 50.1 | 50.1 | 50.1 | 0 | 0 | 0 | 230.6 | 230.7 | 236.1 | 0.8 | 3.5 | 0.9 | 49.95 | 77 | 639 | 125 | 52.33 | -17.5 | Disconnected | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 52.77 | 13.6 | -58.2 | 80 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [5 empty] | -1658.3 |  |  | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 77 | 639 | 125 | 0 | 0 | 0 |  |  |  | 52.61 | 4.3 | -17.5 | 226 | -843 | 80 | charging | Inverting | -58.2 |  | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:54:57 | 44 | Not active | Open | Stopped | Open | Ok | 233.9 | 237 | 236.1 | 6.1 | 7.7 | 6.6 | 50.1 | 50.1 | 50.1 | 1087 | 1377 | 1297 | 233.9 | 237 | 236.1 | 0.8 | 3.1 | 0.7 | 49.95 | 132 | 638 | 198 | 53.17 | 33.9 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 53.78 | 59.1 | -58.2 | 80 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [12 empty] | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 132 | 638 | 198 | 1087 | 1377 | 1297 |  |  |  | 53.39 | 44.2 | 33.9 | 2359 | -841 | 80 | charging | Grid | -58.2 |  | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:55:36 | 5 | Not active | Open | Stopped | Open | Ok | 233.9 | 233.6 | 235.3 | 8.1 | 10.8 | 8.3 | 50.1 | 50.1 | 50.1 | 1908 | 2501 | 1937 | 233.9 | 233.6 | 235.3 | 0.7 | 3.4 | 0.9 | 49.95 | 158 | 793 | 205 | 56.43 | 87.2 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.28 | 84.2 | -57.4 | 81 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 158 | 793 | 205 | 1908 | 2501 | 1937 |  |  |  | 56.23 | 83.6 | 87.2 | 4700 | 5190 | 81 | charging | Grid | -57.4 |  | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:55:53 | 2 | Not active | Open | Stopped | Open | Ok | 233.9 | 234.5 | 234.4 | 8.3 | 11.1 | 9 | 50.1 | 50.1 | 50.1 | 1954 | 2536 | 2066 | 233.9 | 234.5 | 234.4 | 0.8 | 3.5 | 1 | 49.95 | 210 | 773 | 209 | 56.7 | 88.6 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.58 | 87.1 | -57 | 81 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | -121.2 | -86.3 | 0 | 0 | 0 | -1658.3 | 48.62 | 59.45 | 0.1 | 0 | 0 | 0 | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 210 | 773 | 209 | 1954 | 2536 | 2066 |  |  |  | 56.58 | 87.1 | 88.3 | 4928 | 5301 | 81 | charging | Grid | -57 |  | No alarm | No alarm | [14 empty] | No alarm | Disconnected | Disconnected
2020-11-13 15:55:54 | 1 | Not active | Open | Stopped | Open | Ok | 233.9 | 234.5 | 234.4 | 8.3 | 11.1 | 9 | 50.1 | 50.1 | 50.1 | 1954 | 2536 | 2066 | 233.9 | 234.5 | 234.4 | 0.8 | 3.5 | 1 | 49.95 | 210 | 773 | 209 | 56.7 | 88.6 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.58 | 87.1 | -57 | 81 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [12 empty] | Disconnected | Disconnected | Disconnected |  | Off | Off | Off | Off | Off | Off | Off |  |  | 210 | 773 | 209 | 1954 | 2536 | 2066 |  |  |  | 56.58 | 87.1 | 88.3 | 4928 | 5301 | 81 | charging | Grid | -57 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Startup 3 | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:56:06 | 1 | Not active | Open | Stopped | Open | Ok | 233.9 | 234.5 | 234.4 | 8.3 | 10.9 | 8.8 | 50.1 | 50.1 | 50.1 | 1969 | 2542 | 2058 | 233.9 | 234.5 | 234.4 | 0.7 | 3.2 | 0.9 | 50.08 | 171 | 761 | 206 | 56.7 | 89.5 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.54 | 86.8 | -56.7 | 81 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 171 | 761 | 206 | 1969 | 2542 | 2058 |  |  |  | 56.54 | 86.8 | 89.5 | 4907 | 5429 | 81 | charging | Grid | -56.7 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:56:36 | 2 | Not active | Open | Stopped | Open | Ok | 233 | 232.8 | 234.4 | 8.8 | 11.4 | 9 | 50.1 | 50.1 | 50.1 | 2062 | 2579 | 2093 | 233 | 232.8 | 234.4 | 1.2 | 3.6 | 0.9 | 49.82 | 289 | 805 | 208 | 56.69 | 88.4 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.54 | 87.3 | -56 | 81 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 289 | 805 | 208 | 2062 | 2579 | 2093 |  |  |  | 56.54 | 87.3 | 88.4 | 4935 | 5421 | 81 | charging | Grid | -56 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Startup 3 | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:56:37 | 1 | Not active | Open | Stopped | Open | Ok | 233 | 232.8 | 234.4 | 8.8 | 11.4 | 9 | 50.1 | 50.1 | 50.1 | 2062 | 2579 | 2093 | 233 | 232.8 | 234.4 | 1.2 | 3.6 | 0.9 | 49.82 | 289 | 805 | 208 | 56.69 | 88.4 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.54 | 87.3 | -56 | 81 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 289 | 805 | 208 | 2062 | 2579 | 2093 |  |  |  | 56.54 | 87.3 | 88.4 | 4935 | 5421 | 81 | charging | Grid | -56 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Startup 3 | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:56:48 | 2 | Not active | Open | Stopped | Open | Ok | 232.2 | 233.6 | 235.3 | 10.1 | 11.1 | 9 | 50.1 | 50.1 | 50.1 | 2279 | 2565 | 2090 | 232.2 | 233.6 | 235.3 | 2.6 | 3.5 | 0.9 | 49.95 | 535 | 759 | 208 | 56.68 | 88.9 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.54 | 87.1 | -55.8 | 81 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 535 | 759 | 208 | 2279 | 2565 | 2090 |  |  |  | 56.54 | 87.1 | 88.9 | 4924 | 5428 | 81 | charging | Grid | -55.8 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:57:19 | 1 | Not active | Open | Stopped | Open | Ok | 231.3 | 234.5 | 235.3 | 11 | 11.4 | 8.8 | 50.1 | 50.1 | 50.1 | 2495 | 2629 | 2061 | 231.3 | 234.5 | 235.3 | 3.1 | 3.3 | 0.9 | 49.95 | 694 | 779 | 202 | 56.77 | 90 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.66 | 88.4 | -55 | 82 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 694 | 779 | 202 | 2495 | 2629 | 2061 |  |  |  | 56.66 | 88.4 | 90 | 5008 | 5505 | 82 | charging | Grid | -55 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Startup 3 | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:57:28 | 0 | Not active | Open | Stopped | Open | Ok | 232.2 | 235.3 | 231.9 | 11.6 | 12 | 7.9 | 50.1 | 50.1 | 50.1 | 2670 | 2743 | 1728 | 232.2 | 235.3 | 231.9 | 3.2 | 3.5 | 0.8 | 49.95 | 735 | 798 | 198 | 56.79 | 91.1 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.66 | 88 | -54.8 | 82 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 735 | 798 | 198 | 2670 | 2743 | 1728 |  |  |  | 56.66 | 88 | 95.1 | 4986 | 5495 | 82 | charging | Grid | -54.8 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:57:36 | 2 | Not active | Open | Stopped | Open | Ok | 233 | 235.3 | 230.2 | 11.2 | 11.4 | 8.8 | 50.1 | 50.1 | 50.1 | 2571 | 2621 | 2040 | 233 | 235.3 | 230.2 | 3.2 | 3.5 | 0.7 | 49.95 | 713 | 760 | 202 | 56.83 | 91.2 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.69 | 88.3 | -54.6 | 82 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 713 | 760 | 202 | 2571 | 2621 | 2040 |  |  |  | 56.69 | 88.3 | 91.2 | 5005 | 5481 | 82 | charging | Grid | -54.6 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:58:00 | 0 | Not active | Open | Stopped | Open | Ok | 232.2 | 236.2 | 230.2 | 11.2 | 11.4 | 9 | 50.1 | 50.1 | 50.1 | 2569 | 2619 | 2012 | 232.2 | 236.2 | 230.2 | 3.4 | 3.6 | 0.9 | 49.95 | 731 | 819 | 200 | 56.79 | 88.2 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.69 | 87.5 | -54.1 | 82 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 731 | 819 | 200 | 2569 | 2619 | 2012 |  |  |  | 56.69 | 87.5 | 88.2 | 4960 | 5450 | 82 | charging | Grid | -54.1 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Startup 3 | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:58:12 | 0 | Not active | Open | Stopped | Open | Ok | 232.2 | 234.5 | 229.4 | 11 | 11.1 | 9 | 50.1 | 50.1 | 50.1 | 2528 | 2603 | 2039 | 232.2 | 234.5 | 229.4 | 3.3 | 3.7 | 1 | 49.95 | 746 | 840 | 197 | 56.77 | 88.6 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.66 | 86.4 | -53.8 | 82 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 746 | 840 | 197 | 2528 | 2603 | 2039 |  |  |  | 56.66 | 86.4 | 88.6 | 4895 | 5384 | 82 | charging | Grid | -53.8 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:58:36 | 2 | Not active | Open | Stopped | Open | Ok | 233 | 235.3 | 229.4 | 11.2 | 10.9 | 9 | 50.1 | 50.1 | 50.1 | 2581 | 2602 | 2012 | 233 | 235.3 | 229.4 | 3.2 | 3.3 | 1 | 49.95 | 755 | 803 | 198 | 56.9 | 89.7 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.75 | 87 | -53.2 | 82 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 755 | 803 | 198 | 2581 | 2602 | 2012 |  |  |  | 56.75 | 87.1 | 89.7 | 4937 | 5414 | 82 | charging | Grid | -53.3 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:58:42 | 0 | Not active | Open | Stopped | Open | Ok | 232.2 | 235.3 | 228.5 | 11.2 | 11.4 | 8.5 | 50.1 | 50.1 | 50.1 | 2603 | 2620 | 1882 | 232.2 | 235.3 | 228.5 | 3.2 | 3.5 | 0.8 | 49.95 | 763 | 808 | 170 | 56.87 | 87.6 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.75 | 86.4 | -53.1 | 82 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [12 empty] | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 763 | 808 | 170 | 2603 | 2620 | 1882 |  |  |  | 56.75 | 86.4 | 87.6 | 4903 | 5439 | 82 | charging | Grid | -53.1 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Startup 3 | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:58:51 | 1 | Not active | Open | Stopped | Open | Ok | 232.2 | 235.3 | 229.4 | 11.2 | 11.1 | 9.2 | 50.1 | 50.1 | 50.1 | 2556 | 2592 | 2096 | 232.2 | 235.3 | 229.4 | 3.3 | 3.5 | 0.8 | 50.08 | 754 | 810 | 209 | 56.96 | 90.6 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.85 | 87.5 | -52.9 | 82 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.1 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 754 | 810 | 209 | 2556 | 2592 | 2096 |  |  |  | 56.85 | 87.5 | 90.6 | 4974 | 5465 | 82 | charging | Grid | -52.9 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:59:23 | 1 | Not active | Open | Stopped | Open | Ok | 230.5 | 234.5 | 229.4 | 12.1 | 11.1 | 8.8 | 50.1 | 50.1 | 50.1 | 2758 | 2549 | 2049 | 230.5 | 234.5 | 229.4 | 4.5 | 3.4 | 0.6 | 49.82 | 1024 | 780 | 199 | 56.92 | 87.9 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.77 | 85.2 | -52.2 | 83 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.11 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 1024 | 780 | 199 | 2758 | 2549 | 2049 |  |  |  | 56.77 | 85.2 | 87.9 | 4836 | 5325 | 83 | charging | Grid | -52.2 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Startup 3 | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:59:35 | 2 | Not active | Open | Stopped | Open | Ok | 228.8 | 234.5 | 229.4 | 13.2 | 11.4 | 9 | 50.1 | 50.1 | 50.1 | 2938 | 2594 | 2052 | 228.8 | 234.5 | 229.4 | 5.2 | 3.5 | 0.9 | 49.95 | 1194 | 781 | 194 | 57 | 89.1 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.89 | 86 | -51.9 | 83 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.11 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 1194 | 781 | 194 | 2938 | 2594 | 2052 |  |  |  | 56.87 | 85.9 | 89.1 | 4892 | 5388 | 83 | charging | Grid | -52 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 15:59:36 | 1 | Not active | Open | Stopped | Open | Ok | 228.8 | 234.5 | 229.4 | 13.2 | 11.4 | 9 | 50.1 | 50.1 | 50.1 | 2938 | 2594 | 2052 | 228.8 | 234.5 | 229.4 | 5.2 | 3.5 | 0.9 | 49.95 | 1194 | 781 | 194 | 57 | 89.1 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.89 | 86.2 | -51.9 | 83 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.11 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 1194 | 781 | 194 | 2938 | 2594 | 2052 |  |  |  | 56.89 | 86.2 | 89.1 | 4903 | 5388 | 83 | charging | Grid | -51.9 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Error | 12500 | No alarm | Disconnected | Disconnected
2020-11-13 16:00:04 | 1 | Not active | Open | Stopped | Open | Ok | 228.8 | 234.5 | 230.2 | 13.4 | 11.4 | 8.8 | 50.1 | 50.1 | 50.1 | 3032 | 2586 | 2019 | 228.8 | 234.5 | 230.2 | 5.5 | 3.7 | 1.1 | 49.95 | 1198 | 820 | 268 | 57.05 | 87 | AC Input 2 | 16 | Bulk | No error | On | Ok | Ok | Ok | Bulk | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | 56.91 | 85.2 | -51.3 | 83 |  | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | No alarm | Open | [8 empty] | 0.11 |  |  |  | Disconnected | Disconnected | Disconnected | 0 | Off | Off | Off | Off | Off | Off | Off | 0 | 0 | 1198 | 820 | 268 | 3032 | 2586 | 2019 |  |  |  | 56.91 | 85.2 | 87 | 4848 | 5315 | 83 | charging | Grid | -51.3 |  | No alarm | No alarm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.46 | 1142.13 | 1119.7 | Startup 3 | 12500 | No alarm | Disconnected | Disconnected